## 20220806-20220807
|  | Severity | ALARM NUMBER | abormal alarm in weekend (20220806~20220807) | NOTE
NETNUMBER(ENUM)
TITAN-N3
TITAN-S3
MRF
N3MRF01
S3MRF01
SUBPROV
N3SUBPRV01
S3SUBPRV01
A-SBC
| N3ASBC01 | Minor | 40055 | SYS_Configuration: SYS_TestAlarm : Managed_Object_Instance = "ManagedElement=oam"; Specific_Problem = "SYS_TestAlarm"; Additional_Information = "additionalInfoName= testing alarm Machine=n3asbc01-oam-a:SYS_TestAlarm:UUID=df5b04a3-205e-4bb7-9ea1-8a9914431cf2,UUID=df5b04a3-205e-4bb7-9ea1-8a9914431cf2" | CTP TEST
S3ASBC01
CFX-5000
N3CSCF01
S3CSCF01
NTAS
N3TAS01
| S3TAS01 | Critical | 9047 | NE3SWS AGENT NOT RESPONDING TO REQUESTS:30,000 milliseconds timeout on connection http-outgoing-2462355 [ACTIVE] [URL:http://10.108.156.97:8080/NE3S/1.0/] | cleard by system :under investigation
MGCF
N3MGCF01
S3MGCF01
OMGW
N3MW01
N3MW02
| S3MW01 | Minor | 70394 | SCTP PATH FAILURE : fshaProcessInstanceName=SGWSS7LM,fshaRecoveryUnitName=FSSS7SGUServer,fsipHostName=CLA-1,fsFragmentId=Nodes,fsFragmentId=HA,fsClusterId=ClusterRoot | cleard by system :SCTP recover by multi homing
| S3MW02 | Minor | 70394 | SCTP PATH FAILURE : fshaProcessInstanceName=SGWSS7LM,fshaRecoveryUnitName=FSSS7SGUServer,fsipHostName=CLA-1,fsFragmentId=Nodes,fsFragmentId=HA,fsClusterId=ClusterRoot | cleard by system :SCTP recover by multi homing
|  | Critical | 2915 | FAULT RATE MONITORING:mgwDummyUnitName=ET-1433,mgwDummyUnitName=LETGR-17,fshaProcessInstanceName=TDMPhlMgr,fshaRecoveryUnitName=MGW_TDMMGUFU-0,fsipHostName=TDMNIP-8,fsFragmentId=Nod | cleard by system :alarm clear by system ,check with MUX

## 20220815-20220821
|  | Severity | ALARM NUMBER | Alarm History | Alarm List | abormal alarm in weekend (20220815~20220821) | NOTE
NETNUMBER(ENUM)
TITAN-N3
| TITAN-S3 | Major | 333020 | v |  | Replicated view threshold exceeded
|  | Major | 333020 | v |  | Replicated view threshold exceeded
|  | Critical | 333052 | v |  | Failed authentication attempt
|  | Minor | 333055 | v |  | PEER has faulted or disconnected
|  | Minor | 333055 | v |  | PEER has faulted or disconnected
MRF
N3MRF01
| S3MRF01 | Minor | 136114 | v |  | NO CONNECTION WITH NTP SERVER 10.231.10.62
SUBPROV
N3SUBPRV01
| S3SUBPRV01 | Major | 45005 | v |  | 10.108.157.1:Disk usage of /var/log exceeds Major threshold
|  | Minor | 45004 | v |  | 10.108.157.1:Disk usage of /var/log exceeds Minor threshold
|  | Major | 45007 | v |  | N3TAS01-SubDB is disconnected
|  | Major | 45007 | v |  | N3TAS01-SubDB is disconnected
|  | Major | 45007 | v |  | N3TAS01-SubDB is disconnected
|  | Major | 45007 | v |  | N3TAS01-SubDB is disconnected
|  | Critical | 45011 | v |  | Number of consecutive replication failures reaches threshold 4.
|  | Minor | 45014 | v |  | Problem with creating /home/omcmon/omc/gr/dataset1/backup, log in /home/omcmon/sdr/rje/error
|  | Major | 45007 | v |  | N3TAS01-SubDB is disconnected
A-SBC
N3ASBC01
| S3ASBC01 | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
|  | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
|  | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
|  | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
|  | Minor | 40055 | v | v | SYS_Configuration: SYS_TestAlarm
|  | Minor | 10047 | v |  | LSS_cpiFEPHInDropPktPct: Over previous 5 minutes (1 interval(s)), the failure rate was 5.1% above threshold=5%. See master.log and alarm documentation for detailed counts description.
|  | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
|  | Minor | 10129 | v |  | LSS_diamLinkDown: Local IP address: 10.108.158.17 Remote FQDN: 10.108.29.33 Remote IP address and port: 10.108.29.33:3868
|  | Minor | 40055 | v |  | SYS_Configuration: SYS_TestAlarm
CFX-5000
N3CSCF01
| S3CSCF01 | Major | 9240959 | v |  | Fault in TSP (141-383) - [OS/S3CFX01-REPO-01/Hardening]
|  | Major | 9240959 | v |  | Fault in TSP (141-383) - [OS/S3CFX01-REPO-02/Hardening]
|  | Major | 9240959 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-01/TSP-1 (141-383) - [OS/s3cfxcscf01/Hardening]
|  | Major | 9240959 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-TD-CORE-01/TSP-1 (141-383) - [OS/s3cfxtdc01/Hardening]
|  | Major | 9240959 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-L2TD-02/TSP-1 (141-383) - [OS/s3cfxl2td02/Hardening]
|  | Major | 9240959 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-01/TSP-1 (141-383) - [OS/s3cfxcif01/Hardening]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15466939 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02/COMMON-1 (236-443) - [APPL/s3cfxcif02.IMS-DID02]
|  | Major | 15466931 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02/COMMON-1 (236-435) - [APPL/s3cfxcif02.IMS-DID02]
|  | Major | 9240959 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-L2TD-02/TSP-1 (141-383) - [OS/s3cfxl2td02/Hardening]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
|  | Major | 15536732 | v |  | Fault in DU-s3cscfdn_s3cfx00_du/CSCF-CIF-02 (237-4700) - [APPL/s3cfxcif02.IMS-NM01]
NTAS
N3TAS01
| S3TAS01 | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 160396 | v | v | debug log level threshold is enabled
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Major | 160665 | v |  | SCDB Server Overload
|  | Critical | 160666 | v |  | SCDB Communication Failure
|  | Critical | 160621 | v |  | IM Connection Failure
|  | Critical | 160680 | v |  | TAFE lost connection to iCDF
|  | Major | 160608 | v |  | CCDB Communication Failure
|  | Major | 160608 | v |  | CCDB Communication Failure
|  | Critical | 160666 | v |  | SCDB Communication Failure
|  | Critical | 160621 | v |  | IM Connection Failure
|  | Critical | 160680 | v |  | TAFE lost connection to iCDF
|  | Critical | 160680 | v |  | TAFE lost connection to iCDF
|  | Critical | 160666 | v |  | SCDB Communication Failure
|  | Critical | 160621 | v |  | IM Connection Failure
|  | Major | 160608 | v |  | CCDB Communication Failure
|  | Critical | 160666 | v |  | SCDB Communication Failure
|  | Major | 160608 | v |  | CCDB Communication Failure
|  | Critical | 160680 | v |  | TAFE lost connection to iCDF
|  | Critical | 160621 | v |  | IM Connection Failure
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
|  | Minor | 160610 | v |  | Diameter Link Down
|  | Minor | 160610 | v |  | Diameter Link Down
|  | Minor | 160502 | v |  | 4xx Failure Rate Exceeded Thresholds
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Critical | 9047 | v |  | NE3SWS AGENT NOT RESPONDING TO REQUESTS
MGCF
N3MGCF01
| S3MGCF01 | Major | 2072 | v |  | FAILURE IN SIGNALLING LINK ACTIVATION OR RESTORATION
|  | Critical | 3474 | v |  | VMGW OUT OF SERVICE
|  | Critical | 3474 | v |  | VMGW OUT OF SERVICE
|  | Critical | 3474 | v |  | VMGW OUT OF SERVICE
|  | Critical | 3474 | v |  | VMGW OUT OF SERVICE
|  | Minor | 3159 | v |  | SCTP ASSOCIATION LOST
|  | Minor | 3159 | v |  | SCTP ASSOCIATION LOST
|  | Minor | 2241 | v |  | SCCP SUBSYSTEM PROHIBITED
|  | Critical | 2070 | v |  | LINK SET UNAVAILABLE
|  | Minor | 2064 | v |  | ROUTE SET UNAVAILABLE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 3159 | v |  | SCTP ASSOCIATION LOST
|  | Minor | 3159 | v |  | SCTP ASSOCIATION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Critical | 2741 | v |  | NO SUCCESSFUL CALLS
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3687 | v |  | SIP FQDN IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3687 | v |  | SIP FQDN IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3687 | v |  | SIP FQDN IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3687 | v |  | SIP FQDN IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
|  | Major | 3548 | v |  | SIP REMOTE HOST IS UNREACHABLE
OMGW
N3MW01
N3MW02
| S3MW01 | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Critical | 70395 | v |  | APPLICATION SERVER FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 70283 | v |  | FIELD-REPLACEABLE UNIT UNAVAILABLE
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Major | 70159 | v |  | MANAGED OBJECT FAILED
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 70283 | v |  | FIELD-REPLACEABLE UNIT UNAVAILABLE
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Critical | 70395 | v |  | APPLICATION SERVER FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 14116 | v |  | TDM HARDWARE INTERRUPTS OVER LIMIT
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Minor | 2909 | v |  | AIS RECEIVED
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70327 | v |  | MESSAGE TRANSFER PART 3 POINTCODE INACCESSIBLE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Minor | 70326 | v |  | MESSAGE TRANSFER PART 3 LINK UNAVAILABLE
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 70283 | v |  | FIELD-REPLACEABLE UNIT UNAVAILABLE
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Major | 70009 | v |  | SWITCH LINK DOWN
|  | Minor | 9228 | v |  | ALARM DATABASE UPLOAD IN PROGRESS
|  | Minor | 2925 | v |  | SLIP FREQUENCY LIMIT EXCEEDED
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
| S3MW02 | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Critical | 70395 | v |  | APPLICATION SERVER FAILURE
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 70394 | v |  | SCTP PATH FAILURE
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 3947 | v |  | VIRTUAL MEDIA GATEWAY IS OUT OF SERVICE
|  | Minor | 3884 | v |  | H.248 TRAFFIC OVERLOAD
|  | Major | 70436 | v |  | SIGNALING ROUTE UNAVAILABLE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Critical | 70395 | v |  | APPLICATION SERVER FAILURE
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 70399 | v |  | SCTP ASSOCIATION FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 3379 | v |  | SCTP PATH FAILURE
|  | Major | 3937 | v |  | H.248 IP CONNECTION LOST
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2925 | v |  | SLIP FREQUENCY LIMIT EXCEEDED
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Minor | 2912 | v |  | BIT ERROR RATE OVER LIMIT
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM
|  | Critical | 2915 | v |  | FAULT RATE MONITORING
|  | Minor | 2902 | v |  | PCM LINE REMOTE END ALARM